Building Warrant Consultation Checklist

2.12 Fire and rescue service access

2.13 Fire and rescue service water supply

| Site Address: Including Postcode |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Proposer Company Name and Address: (for correspondence) |  |  |  |  |  |  |  |  |  |  |
| Eastings (X): |  |  |  |  | Northings (Y): |  |  |  |  |  |
| Local Authority: |  |  |  |  |  |  |  |  |  |  |
| Building Standards Officer Name: |  |  |  |  |  |  |  |  |  |  |
| Building Standards Officer Phone: |  |  |  |  |  |  |  |  |  |  |
| Building Standards Officer Email: |  |  |  |  |  |  |  |  |  |  |
| Domestic: | Yes/No |  |  |  | Non-Domestic: |  | Yes/No |  |  |  |
| Existing - Public Mains Supply? e.g. Hydrant | Yes/No |  | Quantity? |  | Existing – Alternative Water Supply? e.g. Tank (state capacity below) |  | Yes/No | Quantity? |  |  |
| New Installation - Public Mains Supply? | Yes/No |  | Quantity? |  | New Installation - Alternative Water Supply? (state capacity below) |  | Yes/No | Quantity? |  |  |
| Please describe/explain what type of Firefighting Water Supply you are proposing? Considering the following questions: How many new or existing hydrants? How many alternative water supplies are being proposed and what is their capacity? If you’re building multiple different houses/flats, please give overview of the properties including a range of internal dimensions (e.g. 200-300sqm) Proposed hydrants must be within 100m road distance of the development for domestic properties and within 60m of non-domestic properties. (please type notes in space provided below) |  |  |  |  |  |  |  |  |  |  |
| Site and Floor Plans with dimensions provided in PDF format (Tick to confirm) |  |  |  |  |  |  |  |  |  |  |
| Total Internal Square Metre of Property (m²): (total of ground floor only) |  |  |  |  |  |  |  |  |  |  |
| Is the uppermost floor 7.5m or above? Further information can be found at firescotland.gov.uk |  |  |  |  |  |  | Yes |  | No |  |
| Has BST 2.14 guidance been applied based on the above? |  |  |  |  |  |  | Yes |  | No |  |
| Scottish Water GIS PDF is required if an alternative water supply is proposed (Tick to confirm) |  |  |  |  |  |  |  |  |  |  |